	[image: image2.jpg]E L EKTWI RO




	www.argos.cz


[image: image2.jpg]

	Datasheet
	Cat.5e F/UTP 4x2x0,50 PE-Fca

P/N: 9004320291 (G7NG6)

	[image: image1.png]




	PHYSICAL PARAMETERS
	APPLICATION

	1) Conductor: copper wire AWG24 (Ø 0,50 mm ± 0,005 mm )

2) Insulation: HDPE, Ø 1,00 mm ± 0,05 mm

3) Pair: two conductors twisted together

     Color identification of pairs:

pair 1: white-blue / blue

pair 2: white-orange / orange

pair 3: white-green / green

pair 4: white-brown / brown

4) Sheath: LLDPE, thickness 0,55 mm ± 0,05 mm,

                   nominal cable Ø 6,2 mm ± 0,5 mm

5) Ingress Protection: IP67
6) Ground wire: tinned copper wire Ø 0,45 ± 0,005 mm

7) Foil material: Al/Mylar
	· PBX, V.11, X.21, ISDN, Ethernet (10Base-T), ATM-25/52/155 Mbit/s, 100VG-AnyLAN, Token Ring 16/100 Mbit/s 

· Fast Ethernet (100BASE-TX), Gigabit Ethernet (1000BASE-T), 2,5 Gbit/s Ethernet (2.5GBASE-T) and 5 Gbit/s (5GBASE-T) with a Channel length of 100 meters confirmed

· PoE (802.3af), PoE+ (802.3at)



	
	

	RoHS and REACH
	INSTALLATION AND OPERATION CONDITIONS

	RoHS: does not contain any of the substances listed in Annex II of the EU directive no. 2015/863

REACH: does not contain any of the substances from the ECHA list
	For stationary installation outside buildings, stations, structures and equipment, operated on frequencies up to 100 MHz.


	СOMPLIANCE WITH THE REQUIREMENTS
	MECHANICAL CHARACTERISTICS

	Cabling: ISO/IEC 11801-1, EN 50173-1, ANSI/TIA-568.2-D

Cable: IEC 61156-5, EN 50288-3-1, ANSI/TIA-568.2-D

CPR: Class Fca (EN 60332-1-2) – AVCP 4
	Temperature range:

· During installation 0 °C ... +50 °C

· After installation -20 °C ... +70 °C

· Bending radius:

· During installation ≥ 4 cable diameters

Tensile stress: ≤ 100 N

	ELECTRICAL CHARACTERISTICS AT 20 °C, 100 M


	Parameter
	Unit
	Value

	Resistance unbalance
	%
	2

	Signal propagation velocity
	s
	0,68

	Propagation delay
	ns/100 m
	≤ 535

	Delay shift on the frequency 100 MHz
	ns/100 m
	≤ 45

	Test voltage between cores, (DC, 2 s)
	kV
	2,5


	TRANSMISSION CHARACTERISTICS AT 20 °C, 100 M


	Frequency, MHz
	1
	4
	8
	10
	16
	20
	25
	31,25
	62,5
	100

	Attenuation, dB
	1,94
	3,89
	5,52
	6,18
	7,83
	8,77
	9,81
	11,00
	15,67
	19,86

	NEXT, dB
	83,24
	71,20
	68,88
	69,88
	66,11
	66,90
	65,40
	57,77
	53,31
	52,37

	PS NEXT, dB
	82,43
	69,89
	66,19
	66,88
	63,11
	63,82
	60,58
	55,07
	51,59
	50,12

	Prop. Delay, ns
	534,95
	516,29
	510,89
	509,48
	507,05
	506,03
	505,18
	504,40
	502,45
	501,44

	ACR-F, dB
	76,30
	64,02
	58,02
	55,08
	52,09
	49,66
	43,65
	45,14
	38,30
	34,68

	RL, dB
	32,03
	33,38
	35,09
	36,05
	43,10
	41,27
	40,07
	39,08
	34,07
	33,31


	ORDER INFORMATION


	P/N
	Cable name
	Standard packing
	Weight, kg/km

	9004320291 (G7NG6)
	ARGOS Premium Network Cable - CAT5e FTP PE 
	305m/box
	34,8



	ARGOS ELEKTRO a.s.: Tiskařská 10/257, 108 00 Praha 10 | IČ: 25387952 | DIČ: CZ699000797




